## Slide 1
HS&E INCIDENT BULLETIN |  | 2nd Quarter 2012 | 
Type of Incident: | Burn / Electrocution |  | 
Summary: | NO PHOTO | 
After the aero engine has stopped, the operator Rangel Landim Carvalho Pinho has found a flaw in the breaker . In order to accomplish this task, the operator ( according to his chief) should stop the engine defective because it would be energized, and after doing this, he should stop the second engine before open the transformer, in order to take out the energy of the engines. When he was removing the breaker, in the moment that he was removing the last wire of the appliance occurred a short circuit, creating an electrical arc and as result it caused a discharge of 480 VOLTS, with a principle of fire. The employee had a Burn in Right Ante-Arm and hand ( 1st and 2nd grade) |  | 
Root Causes: | Actions Taken Thus Far: Next Steps |