## Slide 1
HS&E INCIDENT BULLETIN |  | 1st half year 2014 | 
Location Country | Type of incident (example: Slip-Trip, Fall from Height, Vehicle , Laceration, Chemical Exposure) |  | 
Summary: |  | 
Event of fire on lighting installed in the test area |  | 
Root Causes: | Actions Taken Thus Far: Next Steps | 
Breakdown of internal insulation plastic | Evaluation replacement older lighting with more efficient and safety types |